## Sheet1
Command Name | Selectable 1 | JSON Message
Action 1 | M_Command | {"Message":"ExternalCommCommand","Partition":"","M_ControllerBoardId":"","M_ClientId":"","M_Command":3,"M_CommandOptions":""}
Fornax Set Monopolar Command |  | {"Message":"ExternalCommCommand","Partition":"","Message":"MonopolarCommand","M_EnergyChannelId":0,"M_CutMode":0,"M_CutPowerCommand":0,"M_CoagMode":0,"M_CoagPowerCommand":0,"M_Crc32":0}
{"Message":"FornaxCommand","Partition":"CAMM_EXT_1078620_AC143800015","M_ControllerBoardId":"1078620_AC143800015","M_ClientId":"","M_Command":5,"M_CommandOptions":""}
ActivationStatus |  | {"M_StopReason":0,"M_IsActivated":false,"Partition":"CAMM_INTERNAL_P2_Unit_108","M_EnergyChannelId":0,"Message":"ActivationStatus","M_Mode":1,"M_PowerLevel":10}
AdvanceStatus |  | {"M_EnergyChannelId":2,"Partition":"CAMM_INTERNAL_P4_Unit_20","Message":"AdvanceStatus","M_PowerRangeState":3,"M_Power":1}
AlarmPopupStatus |  | {"M_PopupLocation[POPUP_LOCATION_SYSTEM_WIDE].M_AlarmPriority":0,"M_PopupLocation[POPUP_LOCATION_REM_LARGE].M_AcknowledgedByTouch":true, "M_PopupLocation[POPUP_LOCATION_REM_LARGE].M_AlarmPriority":0,"M_PopupLocation[POPUP_LOCATION_ADVANCED].M_AlarmCode":500,"M_PopupLocation[POPUP_LOCATION_MONO2].M_bAlarmState":true, "M_PopupLocation[POPUP_LOCATION_REM_LITTLE].M_bAlarmState":false,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_PopupLocation[POPUP_LOCATION_MONO1].M_bAlarmState":true, "M_PopupLocation[POPUP_LOCATION_BIPOLAR].M_bAlarmState":false,"M_PopupLocation[POPUP_LOCATION_SYSTEM_WIDE].M_AlarmCode":500,"M_PopupLocation[POPUP_LOCATION_DEMO_MODE].M_AlarmCode":500, "M_PopupLocation[POPUP_LOCATION_SYSTEM_WIDE].M_AcknowledgedByTouch":true,"M_PopupLocation[POPUP_LOCATION_ADVANCED].M_AcknowledgedByTouch":true, "M_PopupLocation[POPUP_LOCATION_REM_LARGE].M_bAlarmState":false,"M_PopupLocation[POPUP_LOCATION_REM_LITTLE].M_AcknowledgedByTouch":false,"M_PopupLocation[POPUP_LOCATION_BIPOLAR].M_AlarmCode":500, "M_PopupLocation[POPUP_LOCATION_MONO1].M_AcknowledgedByTouch":true,"M_PopupLocation[POPUP_LOCATION_MONO1].M_AlarmCode":331,"M_PopupLocation[POPUP_LOCATION_REM_LITTLE].M_AlarmPriority":0, "Message":"AlarmPopupStatus","M_PopupLocation[POPUP_LOCATION_DEMO_MODE].M_AcknowledgedByTouch":true,"M_PopupLocation[POPUP_LOCATION_MONO2].M_AlarmCode":331, "M_PopupLocation[POPUP_LOCATION_ADVANCED].M_AlarmPriority":0,"M_PopupLocation[POPUP_LOCATION_REM_LITTLE].M_AlarmCode":500,"M_PopupLocation[POPUP_LOCATION_BIPOLAR].M_AcknowledgedByTouch":true, "M_PopupLocation[POPUP_LOCATION_MONO1].M_AlarmPriority":3,"M_PopupLocation[POPUP_LOCATION_REM_LARGE].M_AlarmCode":500,"M_PopupLocation[POPUP_LOCATION_DEMO_MODE].M_bAlarmState":false, "M_PopupLocation[POPUP_LOCATION_SYSTEM_WIDE].M_bAlarmState":false,"M_PopupLocation[POPUP_LOCATION_MONO2].M_AcknowledgedByTouch":true, "M_PopupLocation[POPUP_LOCATION_BIPOLAR].M_AlarmPriority":0,"M_PopupLocation[POPUP_LOCATION_ADVANCED].M_bAlarmState":false, "M_PopupLocation[POPUP_LOCATION_DEMO_MODE].M_AlarmPriority":0,"M_PopupLocation[POPUP_LOCATION_MONO2].M_AlarmPriority":3}
BarcodeImageCommand |  | {"Partition":"CAMM_EXT_1078620_AC143800015","Message":"BarcodeImageCommand","M_BarcodeImageCommand":1}
BarcodeImageStatus |  | {"M_BarcodeImageFile":"\/tmp\/barcode.bmp","Partition":"CAMM_EXT_1078620_AC143800015","Message":"BarcodeImageStatus"}
BipolarResectionStatus |  | {"M_EnergyChannelId":3,"M_CoagPower":0,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_CutPower":0,"M_CoagPowerRangeState":1,"Message":"BipolarResectionStatus","M_CutPowerRangeState":1}
BipolarStatus |  | {"M_AutoBipolarEnabled":true,"M_BipolarPower":1,"M_EnergyChannelId":1,"Partition":"CAMM_EXT_T4GP407DX", "M_AutoBipolarActivationDelayMs":0,"M_BipolarPowerRangeState":3,"Message":"BipolarStatus","M_AmmeterEnabled":false,"M_BipolarMode":1}
BoardIdCommand |  | {"Partition":"CAMM_INTERNAL_P4_Unit_20","Message":"BoardIdCommand","M_BoardId":1,"M_BoardIdDataSet":0,"M_Command":1,"M_Value":"1234321_AJ142800009"}
BoardIdStatus |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","M_BoardIdDataSet":0,"M_BoardId":1,"Message":"BoardIdStatus","M_Value":"1234321_AJ142800009"}
CardioblateBipolarStatus |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"CardioblateBipolarStatus","M_EnergyChannelId":3,"M_MaximumAblationTimeMS":5,"M_MaximumPowerLevel":5}
CardioblateMonopolarStatus |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"CardioblateMonopolarStatus","M_CardioblateMonopolarPower":5, "M_CardioblateMonopolarPowerRangeState":3,"M_MaximumActivationTimeMS":10,"M_MaximumActivationTimeMSRangeState":3}
CardioblateSelectStatus |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"CardioblateSelectStatus","M_SelectedEnergyChannel":3}
DftAlarmCommand |  | {"Partition":"CAMM_EXT_1078620_AC143800015","Message":"DftAlarmCommand","M_ModuleId":21,"M_AlarmCode":331, "M_Command":4,"M_EnergyChannelId":0,"M_Message":"HELP", "M_CommandParams":"","M_CommandOptions":""}
DftAudioPlayCommand |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","M_AudioSequence":1,"Message":"DftAudioPlayCommand","M_PlayMode":3,"M_Priority":0,"M_Volume":50,"M_OverrideSeqVolume":false}
DftInstrumentCommand |  | {"M_EnergyChannelId":3,"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"DftInstrumentCommand","M_DftInstrumentCommand":1,"M_IntValue":0,"M_FloatValue":0.0,"M_StringValue":""}
DftLogCommand |  | {"Partition":"CAMM_EXT_1078620_AC143800015","Message":"DftLogCommand","M_Command":3,"M_CommandOptions":""}
EmA2dCalDataCommand |  | {"M_Command":1,"M_CalibrationType":0,"M_CalibrationTime":"","M_Options":"","M_EmA2dCalData.M_BipLowCurrentSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipLowCurrentPrimary.M_Gain":1.0, "M_EmA2dCalData.M_BipLowVoltPrimary.M_Gain":1.0,"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","M_EmA2dCalData.M_BipHighVoltSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipLowVoltSecondary.M_Gain":1.0, "M_EmA2dCalData.M_BipLowVoltPrimary.M_Offset":0.0,"M_EmA2dCalData.M_BipHighVoltPrimary.M_Gain":1.0,"M_EmA2dCalData.M_MonoLowVoltPrimary.M_Offset":0.0, "M_EmA2dCalData.M_MonoLowVoltSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipHighCurrentSecondary.M_Offset":0.0,"M_EmA2dCalData.M_MonoLowVoltSecondary.M_Gain":1.0, "M_EmA2dCalData.M_BipHighCurrentPrimary.M_Gain":1.0,"M_EmA2dCalData.M_BipHighVoltSecondary.M_Gain":1.0,"M_EmA2dCalData.M_MonoHighVoltSecondary.M_Offset":0.0, "M_EmA2dCalData.M_BipHighCurrentPrimary.M_Offset":0.0,"Message":"EmA2dCalDataCommand","M_EmA2dCalData.M_BipLowCurrentSecondary.M_Gain":1.0, "M_EmA2dCalData.M_BipLowCurrentPrimary.M_Offset":0.0,"M_EmA2dCalData.M_MonoHighVoltPrimary.M_Gain":1.0, "M_EmA2dCalData.M_BipHighCurrentSecondary.M_Gain":1.0,"M_EmA2dCalData.M_MonoHighVoltSecondary.M_Gain":1.0, "M_EmA2dCalData.M_BipHighVoltPrimary.M_Offset":0.0,"M_EmA2dCalData.M_MonoLowVoltPrimary.M_Gain":1.0, "M_EmA2dCalData.M_MonoHighVoltPrimary.M_Offset":0.0,"M_EmA2dCalData.M_BipLowVoltSecondary.M_Offset":0.0}
EmA2dCalDataStatus |  | {"M_EmA2dCalData.M_BipLowCurrentSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipLowCurrentPrimary.M_Gain":1.01491,"M_EmA2dCalData.M_BipLowVoltPrimary.M_Gain":1.03926, "Partition":"CAMM_EXT_1078620_AC143800029","M_EmA2dCalData.M_BipHighVoltSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipLowVoltPrimary.M_Offset":0.0, "M_EmA2dCalData.M_BipLowVoltSecondary.M_Gain":1.02606,"M_EmA2dCalData.M_BipHighVoltPrimary.M_Gain":1.03662,"M_EmA2dCalData.M_MonoLowVoltPrimary.M_Offset":0.0, "M_EmA2dCalData.M_MonoLowVoltSecondary.M_Offset":0.0,"M_EmA2dCalData.M_BipHighCurrentSecondary.M_Offset":0.0,"M_EmA2dCalData.M_MonoLowVoltSecondary.M_Gain":1.05138, "M_EmA2dCalData.M_BipHighCurrentPrimary.M_Gain":1.01475,"M_EmA2dCalData.M_BipHighVoltSecondary.M_Gain":1.02351,"M_EmA2dCalData.M_MonoHighVoltSecondary.M_Offset":0.0, "M_EmA2dCalData.M_BipHighCurrentPrimary.M_Offset":0.0,"Message":"EmA2dCalDataStatus","M_EmA2dCalData.M_BipLowCurrentSecondary.M_Gain":1.0347, "M_EmA2dCalData.M_BipLowCurrentPrimary.M_Offset":0.0,"M_EmA2dCalData.M_MonoHighVoltPrimary.M_Gain":1.07264,"M_EmA2dCalData.M_MonoHighVoltSecondary.M_Gain":1.05568, "M_EmA2dCalData.M_BipHighCurrentSecondary.M_Gain":1.03478,"M_Options":"","M_EmA2dCalData.M_BipHighVoltPrimary.M_Offset":0.0, "M_CalibrationTime":"2014-11-18T00:26:27Z", "M_EmA2dCalData.M_MonoLowVoltPrimary.M_Gain":1.06396,"M_EmA2dCalData.M_MonoHighVoltPrimary.M_Offset":0.0, "M_CalibrationType":-1,"M_EmA2dCalData.M_BipLowVoltSecondary.M_Offset":0.0}
EnergyParameterCommand |  | {"Message":"EnergyParameterCommand","Partition":"CAMM_EXT_1078620_AC143800015","M_EnergyChannelId":0;,"M_InstrumentType":1;,"M_ParameterType":1,"M_ParameterValue":3,"M_EnergyMode":-1}
ExternalCommCommand |  | {"Message":"ExternalCommCommand","Partition":"CAMM_EXT_1078620_AC143800015","M_ControllerBoardId":"1078620_AC143800015","M_ClientId":"","M_Command":5,"M_CommandOptions":""}
ExternalCommProtocolStatus |  | {"M_ProtocolOptions":"","Partition":"CAMM_EXT_1078620_AC143800015","M_ProtocolVersion":"1.2","M_Alias":"","Message":"ExternalCommProtocolStatus","M_ChassisSerialNumber":"T4GP409DX", "M_PrimaryIpAddress":"10.83.66.224","M_ControllerBoardId":"1078620_AC143800015"}
ExternalCommStatus |  | {"M_PairedEntityId":"","Partition":"CAMM_EXT_1078620_AC143800015","M_PairedEntityAlias":"","M_IsViperEnabled":false,"M_DftMode":0,"M_Alias":"","Message":"ExternalCommStatus", "M_ChassisSerialNumber":"T4GP409DX","M_Options":"","M_PrimaryIpAddress":"10.83.66.224","M_PairingStatus":0,"M_PairedEntityIpAddress":"","M_ControllerBoardId":"1078620_AC143800015"}
FeatureSettingsCommand |  | {"M_IntValue":0,"M_FeatureCommand":2,"M_FeatureSetting":1,"Partition":"CAMM_EXT_T4GP407DX","Message":"FeatureSettingsCommand","M_IsEnabled":true,"M_IsEntitled":true,"M_LicenseKey":"", "M_LicenseTerms":"","M_Options":"","M_StringValue":""}
FeatureSettingsStatus |  | {"M_FutureCommand":1,"M_FeatureSetting":2,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_IntValue":6,"M_IsEnabled":false,"M_IsEntitled":true,"Message":"FeatureSettingsCommand","M_LicenseKey":1, "M_LicenseTerms":3,"M_Options":1,"M_StringValue":1}
FornaxCommand |  | {"Message":"FornaxCommand","Partition":"CAMM_EXT_1078620_AC143800015","M_ControllerBoardId":"1078620_AC143800015","M_ClientId":"","M_Command":5,"M_CommandOptions":""}
HookStatus |  | {"M_HookCutPower":1,"M_EnergyChannelId":2,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_HookEnergyMode":6,"M_HookDwhPowerRangeState":3, "M_HookCoagPowerRangeState":3,"Message":"HookStatus","M_HookDwhPower":1,"M_HookCutPowerRangeState":3,"M_HookCoagPower":1}
InstrumentSettingCommand |  | {"Message":"InstrumentSettingCommand","Partition":"CAMM_EXT_1078620_AC143800015","M_EnergyChannelId":1,"M_InstrumentType":2","M_SettingType":5,"M_SettingValue":""}
LigasureStatus |  | {"M_EnergyChannelId":3,"Partition":"CAMM_INTERNAL_P4_Unit_20","Message":"LigasureStatus","M_HandswitchStatus":1}
MonopolarStatus |  | {"M_CoagPower":0,"M_EnergyChannelId":2,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_CoagPowerRangeState":1, "M_CutPower":0,"Message":"MonopolarStatus","M_CoagMode":3,"M_CutPowerRangeState":1,"M_CutMode":1}
RfidUsageStatus |  | {"M_usageData.M_timestamps[3].M_epochTime":1186240248,"M_usageData.M_latestTimestamp.M_epochTime":2024288,"M_usageData.M_timestamps[4].M_seals":8,"M_usageData.M_timestamps[3].M_year":14, "M_usageData.M_timestamps[3].M_LocalTime":"","M_uid":-2304714016925941956,"M_usageData.M_unlockedSize":51,"M_usageData.M_timestamps[2].M_year":14, "M_usageData.M_timestamps[0].M_invalid":false,"M_usageData.M_timestamps[0].M_month":4, "M_usageData.M_latestTimestamp.M_year":14,"M_usageData.M_timestamps[4].M_year":14, "M_sku":[C@765d725c, "M_usageData.M_timestamps[5].M_epochTime":0, "M_usageData.M_timestamps[2].M_seals":7,"M_usageData.M_timestamps[0].M_epochTime":2155320,"M_usageData.M_timestamps[1].M_seals":7, "M_usageData.M_timestamps[2].M_epochTime":5,"M_usageData.M_usageModelParameter":1,"M_usageData.M_timestamps[6].M_year":14,"M_usageData.M_timestamps[0].M_day":24, "M_usageData.M_timestamps[5].M_invalid":false,"M_usageData.M_initiatedSealCount":60,"M_usageData.M_timestamps[3].M_time":74,"M_usageData.M_timestamps[4].M_day":8, "M_usageData.M_countryUsed":235,"M_usageData.M_additionalUseTime":0,"M_usageData.M_timestamps[1].M_epochTime":2170456,"M_usageData.M_timestamps[4].M_invalid":false, "M_usageData.M_latestTimestamp.M_LocalTime":"","M_usageData.M_timestamps[1].M_day":24,"M_usageData.M_timestamps[5].M_time":67, "M_usageData.M_timestamps[6].M_LocalTime":"","M_usageData.M_invalidUnlockedData":false,"M_usageData.M_timestamps[5].M_month":8,"M_usageData.M_latestTimestamp.M_seals":8, "M_usageData.M_timestamps[4].M_time":95,"M_usageData.M_timestamps[2].M_day":25,"M_usageData.M_timestamps[6].M_time":27,"M_usageData.M_timestamps[6].M_month":8, "M_usageData.M_timestamps[1].M_LocalTime":"","M_usageData.M_timestamps[6].M_epochTime":5,"M_usageData.M_regraspAlarmCount":0,"M_usageData.M_latestTimestamp.M_month":8, "M_usageData.M_totalUseCount":255,"M_usageData.M_timestamps[0].M_LocalTime":"","M_usageData.M_timestamps[2].M_month":4,"M_usageData.M_timestamps[6].M_day":13, "M_usageData.M_usageModelUsed":0,"Partition":"CAMM_EXT_T4GP407DX","M_usageData.M_timestamps[3].M_month":4,"M_usageData.M_unlockedCRC":-5409, "M_usageData.M_timestamps[5].M_LocalTime":"","M_usageData.M_completedSealDuration":0,"M_usageData.M_generatorId":[C@70ff32b9,"M_usageData.M_timestamps[5].M_year":14, "M_usageData.M_timestamps[2].M_invalid":false,"M_usageData.M_timestamps[1].M_invalid":false,"M_usageData.M_timestamps[5].M_seals":8,"M_usageData.M_timestamps[4].M_month":5, "M_usageData.M_timestamps[0].M_year":14,"M_usageData.M_completedSealCount":0,"M_usageData.M_timestamps[6].M_invalid":false,"M_usageData.M_timestamps[1].M_time":91, "M_usageData.M_latestTimestamp.M_day":22,"M_usageData.M_timestamps[5].M_day":6,"M_usageData.M_timestamps[1].M_year":14, "M_usageData.M_timestamps[3].M_invalid":false,"Message":"RfidUsageStatus","M_usageData.M_latestTimestamp.M_time":43, "M_usageData.M_timestamps[1].M_month":4,"M_usageData.M_timestamps[3].M_day":25,"M_usageData.M_timestamps[0].M_seals":7, "M_usageData.M_timestamps[4].M_epochTime":2319272,"M_usageData.M_timestamps[0].M_time":83, "M_usageData.M_timestamps[3].M_seals":7,"M_usageData.M_timestamps[4].M_LocalTime":"","M_usageData.M_totalTimeUsed":721, "M_usageData.M_latestTimestamp.M_invalid":false,"M_usageData.M_timestamps[6].M_seals":8,"M_usageData.M_timestamps[2].M_time":69,"M_usageData.M_timestamps[2].M_LocalTime":""}
SharedCoagStatus |  | {"M_CoagMode":1,"Partition":"CAMM_INTERNAL_P4_Unit_20","M_IsSharedCoagOn":false,"Message":"SharedCoagStatus","M_CoagPower":13,"M_CoagPowerRangeState":3}
SliderStatus |  | {"Partition":"CAMM_INTERNAL_P2_Unit_108","Message":"SliderStatus","M_EnergyChannelId":2,"M_SliderPosition":1}
SwitchStatus |  | {"Partition":"CAMM_INTERNAL_P2_Unit_108","Message":"SwitchStatus","M_SourceId":1,"M_SwitchId":1,"M_EnergyChannelId":0,"M_SwitchState":1}
SystemConfigurationCommand |  | {"M_ConfigurationData":"{\"Name\":\"Controller\",\"Chassis\":\"T4GP499DX\",\"Notes\":\"Service Notes can be stored on the board.\"}", "M_Command":10,"Partition":"","Message":"SystemConfigurationCommand"}
SystemConfigurationStatus |  | {"M_ConfigurationData":"{ \"ControllerBoardId\" : \"1078620_AC143800015\", \"FrontPanelBoardId\" : \"1078579_AC143800015\", \"PowerSupplyBoardId\" : \"1054954_BL141400002\", \"RfBoardIdBoardId\" : \"1070821_BJ141300123\", \"SerialNumber\" : \"T4GP409DX\", \"SteeringRelayBoardId\" : \"1070817_AJ141700011\", \"VerBpcFw\" : \"4.0.0.1\", \"VerBpcHw\" : \"4.4.0 09\/04\", \"VerCammOsSw\" : \"Linux version 3.10.0-cov (bruceyounglove@taboul-youngbr_ub) (gcc version 4.8.1 (GCC) ) #13 SMP PREEMPT Thu Sep 25 08:57:06 MDT 2014\", \"VerCammSw\" : \"4.4.0.\", \"VerEmComm\" : \"4.0.0.0\", \"VerEmStart\" : \"4.0.0.0\", \"VerFpga\" : \"EM P4 Version 4.4 Sep 24 2014 15:53:59\\nSystem Version: 8.0.15\\nChProc Version: 4.4.00\\nCreation Time: 09\/23\/2014 11:45:11\\nSerial Number: 0x000CC1040B49705C\\nEFuse Value: 0x00000000\\nChipScope is present\\nTR10 (XC7Z020 Zynq PS)\\nOrion P4 Energy Channel Processo\u0010\u0001\", \"VerFpgaChProcFw\" : \"4.4.0\", \"VerFpgaDDNASerialNum\" : \"0x000cc1040b49705c\", \"VerFpgaEfuseValue\" : \"0x00000000\", \"VerFpgaSystemFw\" : \"8.0.15+\", \"VerFpgaTimeStamp\" : \"23\/09\/2014 11:45:11\", \"VerIsoFirm1App\" : \"4.4.0\", \"VerIsoFirm1Boot\" : \"3.4.0\", \"VerIsoFirm2App\" : \"4.4.0\", \"VerIsoFirm2Boot\" : \"3.4.0\", \"VerIsoFirm3App\" : \"4.4.0\", \"VerIsoFirm3Boot\" : \"3.4.0\", \"VerIsoFirm4App\" : \"4.4.0\", \"VerIsoFirm4Boot\" : \"3.4.0\", \"VerPercHw\" : \"40\", \"VerVibeApp\" : \"FW-VIBEMX01-01-A12\", \"VerVibeBoot\" : \"FW-VIBEMXBOOT-01-A6\" }", "Partition":"CAMM_EXT_1078620_AC143800015","M_Embodiment":"","M_NeedsConfirmation":false,"Message":"SystemConfigurationStatus","M_LastUpdateDatetime":"","M_ChassisSerialNumber":"", "M_IsConsistent":false,"M_SystemVersion":""}
SystemSettingsCommand |  | {"M_IntValue":0,"M_Command":2,"M_SystemSetting":1,"Partition":"CAMM_EXT_T4GP407DX","Message":"SystemSettingsCommand","M_StringValue":""}
SystemSettingsStatus |  | {"M_IntValue":235,"M_SystemSetting":1,"Partition":"CAMM_EXT_T4GP407DX","Message":"SystemSettingsStatus","M_StringValue":""}
TimeCommand |  | {"M_Command":2,"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"TimeCommand","M_Value":"America/Los_Angeles"}
TriverseStatus |  | {"M_TriversePowerRangeState":1,"M_DwhPower":15,"M_NumTriversePowerBars":1,"Message":"TriverseStatus","Partition":"CAMM_INTERNAL_P4_Unit_20","M_CoagPower":15,"M_EnergyChannelId":2, "M_CutPower":15,"M_CoagMode":3,"M_SliderPosition":3,"M_CutMode":1,"M_IsCutDisabled":false}
UserSettingsCommand |  | {"M_IntValue":0,"M_Command":2,"M_UserSetting":1,"Partition":"CAMM_EXT_T4GP407DX","Message":"UserSettingsCommand","M_StringValue":""}
UserSettingsStatus |  | {"Partition":"CAMM_EXT_T4GP407DX","Message":"UserSettingsStatus","M_UserSetting":1,"M_StringValue":"en_US","M_IntValue":0}
VolumeBarsCommand |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"VolumeBarsCommand","M_VolumeBarsStatus":5}
VolumeBarsStatus |  | {"Partition":"CAMM_INTERNAL_EXT_P4_Unit_20","Message":"VolumeBarsStatus","M_VolumeBars":5,"M_RangeState":2}

## Activation Port
Command Name | Selectable 1 | Selectable 2 | Selectable 3 | Selectable 4 | JSON Message
ActivationStatus | M_IsActivated | M_EnergyChannelId | M_Mode | M_PowerLevel | {"M_StopReason":0,"M_IsActivated":false,"Partition":"CAMM_INTERNAL_P2_Unit_108","M_EnergyChannelId":0,"Message":"ActivationStatus","M_Mode":1,"M_PowerLevel":10}
AdvanceStatus
BipolarResectionStatus
BipolarStatus
CardioblateBipolarStatus
CardioblateMonopolarStatus
CardioblateSelectStatus
DftAlarmCommand
DftInstrumentCommand
EnergyParameterCommand
HookStatus
InstrumentSettingCommand
LigasureStatus
MonopolarStatus
SliderStatus
SwitchStatus
TriverseStatus
Selectable Name | Option 1 | Option 2 | Option 3 | Option 4 | Option 5 | Option 6 | Option 7 | Option 8 | Option 9
M_IsActivated | Option 1: true; Option 2: false
M_EnergyChannelId | 0 = EC_MONO_1 | 1 = EC_BIPOLAR | 2 = EC_MONO_2 | 3 = EC_ADVANCED | 4 = EC_ADVANCED_ECUT | 5 = EC_ADVANCED_DCUT | 6 = EC_SHARED_COAG | 7 = EC_INTERNAL_BIP_CAL | -1 = EC_NOT_USED
M_Mode (EnergyModes) | 0 = SPRAY_MODE | 1 = CUT_MODE | 2 = BLEND_MODE | 3 = FULGERATE_MODE | 4 = BIPOLAR_MODE | 5 = VESSEL_SEALING_MODE | 6 = VALLEYLAB_MODE | 7 = BIPOLAR_RESECTION_CUT_MODE | 8 = BIPOLAR_RESECTION_COAG_MODE | 9 = AUTOBIPOLAR_MODE | 10 = VIPER_HLA | 11 = SOFT_COAG_MODE | 12 = ECUT_MODE | 13 = SHARED_SPRAY_MODE | 14 = SHARED_FULGERATE_MODE | 15 = CARDIO_MONO_MODE | 16 = CARDIO_BIPOLAR_MODE | 17 = BIPOLAR_LOW_MODE | 18 = BIPOLAR_MACRO_MODE | 19 = BIPOLAR_STANDARD_MODE | 20 = BIPOLAR_MEDIUM_MODE | 21 = VL_ENDOSCOPY_MODE | 22 = NUM_ENERGY_MODES | -1 = MODE_NOT_USED
M_PowerLevel | Option 1: Power in Watts to use for the activation

## AlarmLevel
Enum Number | Command Name
0 | ALARM_LEVEL_NONE
1 | ALARM_LEVEL_INFO
2 | ALARM_LEVEL_LOW
3 | ALARM_LEVEL_MEDIUM
4 | ALARM_LEVEL_LIGASURE
5 | ALARM_LEVEL_REM
6 | ALARM_LEVEL_HIGH
7 | ALARM_LEVEL_SAFE
8 | NUM_ALARM_LEVELS

## AudioMode
Enum Number | Command Name
0 | AUDIO_MODE_CONTINUOUS
1 | AUDIO_MODE_ONE_TIME
2 | AUDIO_MODE_STOP
3 | AUDIO_MODE_DEFAULT

## AudioPriority
Enum Number | Command Name
0 | AUDIO_REPLACE
1 | AUDIO_DELAY
2 | AUDIO_INTRPT
3 | AUDIO_NO_ACT
4 | AUDIO_ALARM
5 | AUDIO_DEFAULT

## AudioSequence
Enum Number | Command Name
0 | AUDIO_SEQUENCE_NOT_USED
1 | AUDIO_SEQUENCE_SELF_TEST
2 | AUDIO_SEQUENCE_INSTRUMENT_INSTALLED
3 | AUDIO_SEQUENCE_CHANGEABLE_OPTION
4 | AUDIO_SEQUENCE_NON_CHANGEABLE_OPTION
5 | AUDIO_SEQUENCE_INVALID_SELECTION
6 | AUDIO_SEQUENCE_CUT_ACTIVATION
7 | AUDIO_SEQUENCE_DWH_ACTIVATION
8 | AUDIO_SEQUENCE_COAG_BIPOLAR_ACTIVATION
9 | AUDIO_SEQUENCE_LIGASURE_ACTIVATION
10 | AUDIO_SEQUENCE_INVALID_ACTIVATION
11 | AUDIO_SEQUENCE_SLIDER_BARS_1_TO_2
12 | AUDIO_SEQUENCE_SLIDER_BARS_2_TO_3
13 | AUDIO_SEQUENCE_SLIDER_BARS_3_TO_4
14 | AUDIO_SEQUENCE_SLIDER_BARS_4_TO_5
15 | AUDIO_SEQUENCE_SLIDER_BARS_5_TO_4
16 | AUDIO_SEQUENCE_SLIDER_BARS_4_TO_3
17 | AUDIO_SEQUENCE_SLIDER_BARS_3_TO_2
18 | AUDIO_SEQUENCE_SLIDER_BARS_2_TO_1
19 | AUDIO_SEQUENCE_VIRTUAL_AMMETER
20 | AUDIO_SEQUENCE_SEAL_COMPLETE
21 | AUDIO_SEQUENCE_INCOMPLETE_SEAL_CYCLE
22 | AUDIO_SEQUENCE_HIGH_ALARM
23 | AUDIO_SEQUENCE_MEDIUM_ALARM
24 | AUDIO_SEQUENCE_LOW_ALARM
25 | AUDIO_SEQUENCE_REM
26 | AUDIO_SEQUENCE_SHARED_COAG
27 | AUDIO_SEQUENCE_INFO
28 | AUDIO_SEQUENCE_CARDIOBLATE_MONO
29 | AUDIO_SEQUENCE_CARDIOBLATE_BIPOLAR
30 | AUDIO_SEQUENCE_CARDIOBLATE_TRANSMURAL
31 | AUDIO_SEQUENCE_CARDIOBLATE_IMPEDANCE_EXCEEDED
32 | AUDIO_SEQUENCE_VALLEY_ENDO
33 | NUM_AUDIO_SEQUENCES

## BarcodeImageCommand
Enum Number | Command Name
0 | BARCODE_IMAGE_COMMAND_INVALID
1 | BARCODE_IMAGE_COMMAND_TAKE_IMAGE
2 | BARCODE_IMAGE_COMMAND_RESEND_IMAGE

## BoardId
Enum Number | Command Name
0 | BOARD_ID_NONE
1 | BOARD_ID_CONTROLLER
2 | BOARD_ID_STEERING_RELAY
3 | BOARD_ID_RF
4 | BOARD_ID_POWER_SUPPLY
5 | BOARD_ID_FRONT_PANEL
6 | BOARD_ID_MAX

## BoardIdCommand
Enum Number | Command Name
0 | BOARD_ID_COMMAND_NONE
1 | BOARD_ID_COMMAND_WRITE
2 | BOARD_ID_COMMAND_READ

## BoardIdDataSet
Enum Number | Command Name
0 | BOARD_ID_DATASET_BOARD_INFO
1 | BOARD_ID_DATASET_SCHEMA_INFO
2 | BOARD_ID_DATASET_CHASSIS_INSTALLATION
3 | BOARD_ID_DATASET_CONFIGURATION
4 | BOARD_ID_DATASET_CALIBRATION_CURR
5 | BOARD_ID_DATASET_RESERVED_1
6 | BOARD_ID_DATASET_RESERVED_2
7 | BOARD_ID_DATASET_RESERVED_3
8 | BOARD_ID_DATASET_CALIBRATION_HIST_TOC
9 | BOARD_ID_DATASET_CALIBRATION_HIST
10 | BOARD_ID_DATASET_INIT_MAX
50 | BOARD_ID_DATASET_MAX

## CalibrationCommand
Enum Number | Command Name
0 | CALIBRATION_COMMAND_NONE
1 | CALIBRATION_COMMAND_WRITE
2 | CALIBRATION_COMMAND_READ
3 | CALIBRATION_COMMAND_REINSTATE

## CalibrationType
Enum Number | Command Name
0 | CALIBRATION_TYPE_FIELD
1 | CALIBRATION_TYPE_FACTORY
-1 | CALIBRATION_TYPE_UNKNOWN

## CountryCodes
Enum Number | Command Name